## Sheet1
ŽUPANIJA | NAZIV | ADRESA | VODOCRPILIŠTE | Datum uzimanja | Analitički broj | Mjesto uzimanja | Elektrovodljivost | Cijanidi uk | Pb | Cd | Zn | Fe | Ni | Cr | Mn. | Al | Cu | Co | Sb | Ba | Se | Ag | V | Be | Neion. Ten | 1,2-dikloretan | Trikloreten | Tetrakloreten | HCB | HCH alfa | HCH beta | HCH gama (Lindan) | HCH delta | DDT i metaboliti | Aldrin | Dieldrin | Endrin | Heptaklor | Heptaklor epoksid | Dikofol | Endosulfan | Vinklozolin | Diklofluanid | Tolifluanid | Klordan | Metoksiklor | Kaptan | OPP uk. | Diklorvos | Mevinfos | Forat | Diazinon | Metilparation | Paration | Malation | Klorpirifos | Etion | Fenitrotion | Dimetoat | Fosalon | Fenklorfos | Fention | Primifos-metil | Klormefos | Bromofos-metil | Bromofos-etil | Tetraklorvinfos | Azinfos-meti | Azinfos-etil | Kumafos | Fenamifos | Fonofos | Klorpirifos-metil | Ometoat | Pirazofos | Pirimfos-etil | Tiabendazol | Metidation | Demeton-S-metil | Demeton S | Demeton S-metil sulfon | Tolklofos-metil | Izofenfos | Oksidemeton-metil | Atrazin | Simazin | PCB | fluoranthene | benzo(b)fluoranthene | benzo(k)fluoranthene | Benzo(a)piren | benzo(ghi)perilene | indeno(1,2,3-cd)pirene | Trihalometani - ukupni | Suma tetrakloreten i trikloreten
ŠIBENSKO- KNINSKA | VODOVOD I ODVODNJA d.o.o. | KRALJA ZVONIMIRA 50, ŠIBENIK | JARUGA |  |  |  | µScm-1 pri 20oC | µg/L CN | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L
ŠIBENSKO- KNINSKA | VODOVOD I ODVODNJA d.o.o. | KRALJA ZVONIMIRA 50, ŠIBENIK | JARUGA | 13.09.2013. | CENTRALNI BUNAR |  | 461 | <30 | 6.7 | <2 | 71 | 126 | <2 | <2 | 8.9 | 165 | 4.6 | <2 | <5 | <12 | <6 | <4 | <2 | <0,1 | <50 | <0,1 | <0,1 | <0,1 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 |  | <0,02 | <0,02 | <0,01 | <0,01 | <0,02 | <0,02 | <0,02 | <0,01 | <0,02 | <0,02 | <0,01 | <0,05 | <0,02 | <0,02 | <0,01 | <0,01 | <0,02 | <0,02 | <0,01 | <0,02 | <0,02 | <0,05 | <0,05 | <0,02 | <0,01 | <0,05 | <0,05 | <0,01 | <0,1 | <0,02 | <0,02 | <0,02 | <0,02 | <0,01 | <0,02 | <0,05 | <0,01 | <0,01 | <0,01 | <0,005 | <0,005 | <0,005 | <0,005 | <0,005 | <0,005 | <0,1 | <0,1
ŠIBENSKO- KNINSKA | VODOVOD I ODVODNJA d.o.o. | KRALJA ZVONIMIRA 50, ŠIBENIK | JARUGA | 13.09.2013. | Vodice |  | 486 | <30 | 3.2 | <2 | 129 | 133 | <2 | <2 | 2.5 | 160 | 13.9 | <2 | <5 | <12 | <6 | <4 | <2 | <0,1 | <50 | <0,1 | <0,1 | <0,1 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,05 |  | <0,02 | <0,02 | <0,01 | <0,01 | <0,02 | <0,02 | <0,02 | <0,01 | <0,02 | <0,02 | <0,01 | <0,05 | <0,02 | <0,02 | <0,01 | <0,01 | <0,02 | <0,02 | <0,01 | <0,02 | <0,02 | <0,05 | <0,05 | <0,02 | <0,01 | <0,05 | <0,05 | <0,01 | <0,1 | <0,02 | <0,02 | <0,02 | <0,02 | <0,01 | <0,02 | <0,05 | <0,01 | <0,01 | <0,01 | <0,005 | <0,005 | <0,005 | <0,005 | <0,005 | <0,005 | 7.5 | <0,1
ŠIBENSKO- KNINSKA | VODOVOD I ODVODNJA d.o.o. | KRALJA ZVONIMIRA 50, ŠIBENIK | JARUGA | 13.09.2013. | Grebaštica |  | 477 | <30 | 5.1 | <2 | 382 | 101 | <2 | <2 | 7.5 | 118 | 12.9 | <2 | <5 | <12 | <6 | <4 | <2 | <0,1 | <50 | <0,1 | <0,1 | <0,1 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,05 |  | <0,02 | <0,02 | <0,01 | <0,01 | <0,02 | <0,02 | <0,02 | <0,01 | <0,02 | <0,02 | <0,01 | <0,05 | <0,02 | <0,02 | <0,01 | <0,01 | <0,02 | <0,02 | <0,01 | <0,02 | <0,02 | <0,05 | <0,05 | <0,02 | <0,01 | <0,05 | <0,05 | <0,01 | <0,1 | <0,02 | <0,02 | <0,02 | <0,02 | <0,01 | <0,02 | <0,05 | <0,01 | <0,01 | <0,01 | <0,005 | <0,005 | <0,005 | <0,005 | <0,005 | <0,005 | 8.2 | <0,1
ŠIBENSKO- KNINSKA | VODOVOD I ODVODNJA d.o.o. | KRALJA ZVONIMIRA 50, ŠIBENIK | JARUGA | 13.09.2013. | Šibenik |  | 463 | <30 | 4.1 | <2 | 26 | 97.9 | <2 | <2 | 3.2 | 115 | 11.8 | <2 | <5 | <12 | <6 | <4 | <2 | <0,1 | <50 | <0,1 | <0,1 | <0,1 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,01 | <0,05 |  | <0,02 | <0,02 | <0,01 | <0,01 | <0,02 | <0,02 | <0,02 | <0,01 | <0,02 | <0,02 | <0,01 | <0,05 | <0,02 | <0,02 | <0,01 | <0,01 | <0,02 | <0,02 | <0,01 | <0,02 | <0,02 | <0,05 | <0,05 | <0,02 | <0,01 | <0,05 | <0,05 | <0,01 | <0,1 | <0,02 | <0,02 | <0,02 | <0,02 | <0,01 | <0,02 | <0,05 | <0,01 | <0,01 | <0,01 | <0,005 | <0,005 | <0,005 | <0,005 | <0,005 | <0,005 | 7.2 | <0,1
Dana 13.9. 2014. godine na
Odjel za kemiju voda i zdravstvenu ispravnost voda Hrvatskog zavoda za javno zdravstvo
dostavljeni su četiri uzorka iz izvorišta Jaruga iz Šibenskog vodovoda.
Uzorci su dostavljeni na propisan način i u propisnoj analizi sa sljedećih lokacija:
1. Centralni bunar crpilišta Jaruga
2. Lokacija mreže u Grebaštici
3. Lokacija mreže Vodice
4. Lokacija mreže Šibenik
Analiza ukazuje da su sve izmjerene vrijednosti svih metala, organskih otapala,
detergenata, cijanida, pesticida (organoklornih, organofosfornih, triazinskih),
polikloriranih bifenila, poliaromatskih ugljikovodika bile unutar višegodišnjeg prosjeka
i sve su bile ispod Maksimalno dozvoljenih koncentracija koje propisuje
Pravilnik o parametrima sukladnosti i metodama analize vode za ljudsku potrošnju
Zakona o vodi za ljudsku potrošnju.
Voditelj Odjela
Dr. sc. Željko Dadić